# policy

[INSERT NAME OF SERVICE] has a fire and evacuation plan specific for their individual needs and which is known to all Staff and Kitchen Volunteers.

# rationale

[INSERT NAME OF SERVICE] are actively working towards providing an environment of safe work practices that minimise fire, security and other emergency risks.

# process

Fire, Safety and other Emergencies outlined in the plan will include:

COLOUR CODE	EMERGENCY TYPE (National fire/emergency codes)

RED			Internal fire/smoke;

ORANGE		Evacuation;

PURPLE		Bomb threat;

BLUE			Medical emergencies e.g. CPR;

BLACK			Personal threat (threatened injury to others or themselves);

BROWN		External emergencies (severe weather, cyclones, earthquakes);

NB: these are managed as part of an overall plan covering most local Government areas.

YELLOW	Internal emergencies (explosives, natural disasters, engineering failure, impacts (aircraft), incidents (chemical spills) NB: these are any incidents which may also reduce the capacity of the facility to function normally.

## Education and Training

All staff and kitchen volunteers shall, when commencing work, and during course of engagement, be given instructions in relation to:

- Identification and minimisation of fire hazards;

- Procedures to be followed in the event of fire or other emergencies;

- Means of escape from the building in the event of fire or another emergency;

- Location and method of operation of fire fighting equipment;

- Location and method of operation of fire alarm system or equipment for warning of fire;

- Procedure for managing an evacuation area;

- Annual emergency training;

- Records being kept each time education is given detailing the names of staff members present, their work roles, the instruction given, the name of the instructor, and date;

- Education/training will be conducted by appropriate, authorised and skilled personnel.

## Testing of Fire Equipment

A service agreement should be arranged between the facility and external service provider for servicing/inspecting of fire systems/equipment.

- This service agreement should specify:

- System/equipment to be inspected;

- Frequency of inspection;

- Level of inspection is in accordance with Statutory and Regulatory requirements;

- Specific details of the items to be checked;

- Testing will be conducted by appropriately trained and qualified persons;

- Log must be maintained to include:

  - Name/address of the person conducting test;

  - Date;

  - Description of items;

  - Results;

  - Corrective action if required;

  - Date corrective action taken (if required).

## General considerations

- Telephone number of the nearest fire brigade and name and address of the facility is to be visible and close to the telephone at the front desk;

- Fire equipment and external doors to be free of obstruction at all times;

- Staff and kitchen volunteers should only attempt to extinguish the fire if they do not place themselves at risk;

- Flammable liquids should be stored in a metal, flameproof cupboard if possible.

- Standard reference

| Australian Aged Care Quality Standard: | Standard 7 Standard 8 b c |
| --- | --- |